# Haemopoietic viability form

| TEST METHOD: | ##### Haemopoietic Viability Assay DOC121 |  | Affix product label |
| --- | --- | --- | --- |
| SAMPLE: Complete, or affix product label opposite | Product Number |  |  |
|  | Product Type | HPC-A HPC-M HPC-C TC-T (CD3) |  |
|  | Recipient’s Name |  |  |

| Assay Date: |  |  |
| --- | --- | --- |
| Scientist: |  |  |

## reagents

|  | Lot Number | Expiry Date |
| --- | --- | --- |
| CD45-FITC |  |  |
| CD34-PE |  |  |
| CD3-PE |  |  |
| 7-AAD |  |  |
| Flow buffer |  |  |
| Red cell lysis buffer |  |  |

## Flow cytometer

|  Flow Cytometer  Canto A  Canto B |  |
| --- | --- |
|  Daily QC results checked & acceptable | Signature: |

## Incubation

Sample:  Neat	 Diluted:   1/10	 Other _________

|  | CD45-FITC |  CD34-PE CD3-PE | 7-AAD | Sample |
| --- | --- | --- | --- | --- |
| Volume (μL) | 10 | 10 | 5 | 50 |

Incubation time = 10 minutes

## results

|  | TNC (CD45) | CD34 | CD3 |
| --- | --- | --- | --- |
| % Viability |  |  |  |

 Instrument print-out attached

| Performed by (Name) |  | (Sign) |  | Date: |  |
| --- | --- | --- | --- | --- | --- |
| Reviewed by (Name) |  | (Sign) |  | Date: |  |