# MSC Characterisation by Flow Cytometry

### (BD FACSCanto II Flow Cytometer)

## PRINCIPLE

Mesenchymal stromal cells (MSC) must demonstrate the MSC phenotype of positive expression of CD105, CD73 and CD90 and negative expression of cell markers CD45, CD34, CD19, CD11b and HLA-DR.

## Responsibilities

- (Insert manufacturer’s name) staff are responsible for the phenotype characterisation of manufactured MSC.

- The Production Manager is responsible for reviewing MSC phenotype results prior to the release of product.

## REAGENTS

- Human MSC Analysis kit (BD #562245)

- Flow buffer (PBS + 1%BSA)

## EQUIPMENT & MATERIALS

- Centrifuge (Hettich EBA-20)

- Flow tubes (BD #343675)

- BDCanto flow cytometer II

- Pipettes

- Vortex

## SAmples

- Aliquot of MSC product (cryopreserved or non-cryopreserved).

- MSC quality assurance sample, prepared as per MSC Quality Assurance Material.

## Cell Preparation

### Thawing

Remove the sample vial from the cryo storage tank and place into a 37°C water bath until just thawed.

### Antibody Staining

- For the sample to be tested a minimum of 1x106cells are required at a concentration of 5x106/mL

- Label one tube as Test and a second tube as Isotype Control.

- Add 10μL of Positive Cocktail and 10μL Negative Cocktail to the Test tube.

- Add 10μL of Positive Isotype Cocktail and 10μL Negative Isotype Cocktail to the Isotype Control tube.

- Add 100μL of cell suspension (5x105 cells per tube) to the Test tube and to the Isotype Control tube.

- Repeat the tube set up for the quality assurance sample.

- Incubate tubes in the dark for 30 minutes.

- Wash the cells twice in 500μL flow buffer (2500rpm for 4 minutes)

- Resuspend cells in 500μL flow buffer

- Analyse on flow cytometer

### CD44

If required, the sample may be tested for expression of CD44, as follows:

- Label one tube as CD44 Test and a second tube as CD44 Isotype Control

- Add 5μL PE Mouse Anti-Human CD44 to the CD44 Test tube.

- Add 5μL of PE Mouse IgG2b, κ Isotype Control to the CD44 Isotype Control tube.

- Add 100μL of cell suspension (5x105 cells per tube) to the Test tube and to the Isotype Control tube.

- Incubate, wash and assay as for routine antibody staining.

## Analysis

- Ensure daily set-up has been performed. Refer to Flow Cytometer Start-up and Shut-down and Flow Cytometer Quality Control.

- Check quality control results: CS & T Beads and BD FACS 7-Color Setup Beads.

- Open the BD FACS DIVA Software program.

- Log in:

User name: (Insert Username)

Password: (refer to Scientist-In-Charge)

- In the browser, highlight the MSC folder and right click on new experiment.

- In the experiment templates dialog box, open the experiment: MSC Phenotype.

- Rename the MSC phenotype template as: MSC phenotype_Product#_Lot#.

- In the experiment hierarchy rename the Specimen as: Product#_Lot#.

## Reporting

- Record the % Parent results for CD105, CD90, CD73 and NEG (and CD44, if measured).

- Record result on the MSC Flow Cytometry Form.

- Print a PDF copy of results.

- Save an electronic copy in L:\Cell & Tissue Lab\MSC\MSC Release criteria_Flowcytometer data

## quality assurance

- Process and test an MSC quality assurance sample with each product batch as part of the release process.

- Record results on the MSC Flow Cytometry Form.

- Acceptable result for MSC phenotype:

>90% CD73, CD90, CD105 expression and <5% CD45, CD34, CD19, CD11b and HLA-DR expression,

## Records

Flow cytometer printout is stored, with the release record, in the donor MSC manufacturing record.

## Documents

Flow Cytometer Start-up and Shut-down DOC135

Flow Cytometer Quality Control DOC146

MSC Quality Assurance Material DOC117

MSC Flow Cytometry Form FORM125

## Documentation and References

- Dominici M, Le Blanc K, Mueller I et al Minimal criteria for defining multipotent mesenchymal stromal cells. The International Society for Cellular Therapy position statement. Cytotherapy 8: 4, 315, 2006

- BD Stemflow Human MSC Analysis Kit: Technical Data Sheet.

## Procedure History

| Revision | Date | Modification | Approved By | ##### Implemented |
| --- | --- | --- | --- | --- |
| 1.0 | (Insert Date) | Originally drafted by (Insert name) | (Insert name) | (Insert date) |
| 2.0 | (Insert Date) | Reviewed (Insert name & description of changes). | (Insert name) | (Insert date) |