LABORATORY QUALITY MANUAL

NATA/RCPA ACCREDITATION NO [insert accreditation nr]

Contact: [insert contact person]

Phone: [insert landline] 
Mobile: [insert best mobile contact]
Fax:[insert fax number]

Address: 
[insert physical address and postal address]

# 1.0	INTRODUCTION

The [insert Laboratory name] is located at [insert location].   The Centre is dedicated to high quality and timely diagnostic analysis for all its clients and performs [list services offered].  The following diagnostic tests are performed by our Centre:

[insert name of test]

[insert description of tests offered]

[insert name of test]

[insert description of tests offered]

[insert name of test]

[insert description of tests offered]

The following document is the Laboratory Quality Manual, which outlines the operation of the Centre. This manual details the relevant aspects of the Centre appropriate to the operation of a NATA accredited Laboratory and includes Centre organisation, management, personnel, technical services, maintenance and programs for auditing and review.

The introduction of this Quality System will serve to support and advance the goals of this Centre in maintaining an internationally recognised, independent and high standard of diagnostic services.

## LABORATORY QUALITY MANUAL MASTER INDEX

| Number | Title | Version No | Issue Date | Distribution |
| --- | --- | --- | --- | --- |
| QM-1.0 | INTRODUCTION |  |  |  |
| QM-2.0 | MANAGEMENT |  |  |  |
| QM-3.0 | PERSONNEL |  |  |  |
| QM-4.0 | TECHNICAL SERVICES |  |  |  |
| QM-5.0 | EQUIPMENT MAINTENANCE |  |  |  |

Distribution Code:

TABLE OF CONTENTS

1.0	INTRODUCTION	2

1.1	LABORATORY QUALITY MANUAL MASTER INDEX	3

1.2	Organisation	6

1.3	Organisational Structure	7

1.4	Quality System	9

1.5	Confidentiality Policy	10

1.6	Management Review Policy	12

2.0	MANAGEMENT	14

2.1	Document Control	14

2.2	Review of Diagnostic Requests	16

2.3	Subcontracting of Tests and Calibration	17

2.4	Purchasing Services and Supplies	20

2.5	Control of Records	25

2.6	Service to Client	28

2.7	Complaints, Non-conformance and Improvements	29

2.8	Internal Audits	30

2.9	Management Reviews	32

2.10 	Quality Indicators	33

3.0	PERSONNEL	35

3.1	Duty Statements	35

3.2	Staff Training	39

3.3	Staff Induction	40

3.4	Workplace Health and Safety	41

4.0	TECHNICAL SERVICES	42

4.1	Accommodations and Environment	42

4.2	Test and Calibration Methods and Method Validation	43

4.3	Sample Preparation and Tracking	44

4.4	Organisation of Samples in Runs	45

4.5	Handling of Test and Calibration Items	46

4.6	Quality Control	47

4.7	External Quality Assurance (QA)	49

4.8	Reporting Results	50

4.9	Billing for Services	51

5.0	EQUIPMENT MAINTENANCE	52

5.1	Maintenance and Calibration	52

5.2	Equipment List	53

## 1.2	Organisation

[Insert into this section a detailed description of the following:

- Services provided

- History of the Laboratory

- Facilities i.e available equipment and capacity for service delivery

- The way in which the Laboratory is financed and the organisational structure]

In the event of a complaint, or other Centre issue that may constitute a potential conflict of interest, senior staff should absent themselves from their designated Centre responsibility in respect of that issue. Both the Director of the Centre and the Deputy Director should accept their responsibilities in their respective roles of management of the Centre in ensuring autonomy of operation and institutional support for the Centre. Within the [insert facility name] structure, the Laboratory Manager and Operators are responsible only to the Director, [insert description of most senior staff and accountability]

The Centre is obliged to maintain client confidentiality from sample receipt through to the reporting of results.   Also the [insert Laboratory name] cannot supply details, for example patient information, to anyone without direct consent from the patient.  It is mandatory for clients to assign an anonymous identifier to the sample and this must be maintained throughout the testing process.  Results must be stored on compact disc within the Laboratory with access limited to authorised staff only.

The staff of the Centre should undertake their duties within the policies stated under [insert link to facility’s policies]. In particular, the Centre must avoid involvement in any activity that may compromise the confidence in its competence, impartiality, judgement or operational integrity.

## 1.3	Organisational Structure

### 1.3.1 	Legal identity

The Laboratory operates under the legal identity of [insert name of institution where the service is offered]. [Insert name of the Institution] is authorised under the State statute entitled the [insert Act of relevant Institute].  This statute can be accessed online through the [insert Institute name] website [insert website link].

### 1.3.2	Organisational Chart

The Laboratory is part of [insert Institute name].  Authority, interrelation, and responsibilities of all Laboratory personnel are detailed in this manual.  The responsibilities of the Quality Manager and the Technical Manager are assigned to designated staff as shown in the organisational chart.

Organisational Chart

Director

[insert staff name]

Quality Manager

[insert staff name]

Clinic Manager

[insert staff name]

Laboratory Manager

[insert staff name]

[insert]

Laboratory Operator

[insert staff name]

Clinic Staff

[insert staff name]

Deputy Director

[insert staff name]

## 1.4	Quality System

Statement of Authority

The Quality Policy Statement and Quality System are issued under the authority of the Director of the [insert Institute name], [insert Director staff details].

Signature	_____________

Date		_____________

Quality Policy Statement

The [insert Laboratory name] is committed to providing independent, high quality and competitively priced DNA diagnostic analyses. Centre staff endeavour to provide a high standard of service to clients.

The Laboratory is committed to the ongoing compliance with the International Standard AS 4633 (ISO 15189).

In designing the Quality System a number of documents were consulted for procedural and technical information.  These included the National Pathology Accreditation Advisory Council (NPAAC) and the National Association of Testing Authorities (NATA) guidelines.  These guidelines can be found at the following addresses:

http://www.health.gov.au/internet/main/publishing.nsf/Content/health-npaac-publication.htm

http://www.nata.asn.au/

Alternatively, copies of the following National Association of Testing Authorities (NATA) and National Pathology Accreditation Advisory Council (NPACC) are available electronically. Relevant documents for quality testing procedures are as follows:

- NATA AS 4633 (ISO 15189) Field Application Document

- NPAAC Requirements for Medical Pathology Services (First Edition 2013)

- NPAAC Requirements for Enrolment and Participation in External Quality Assessment (Fifth Edition 2013)

- NPAAC Requirements for Medical Testing of Human Nucleic Acids (Second Edition 2013)

- NPAAC Requirements for Information Communication (Third Edition 2013)

- NPAAC Requirements for the Packaging and Transport of Pathology Specimens and Associated Materials (Third Edition 2013)

- NPAAC Requirements for the Development and Use of In-house In Vitro Diagnostic Medical Devices (IVDs) (Third Edition 2014)

- NPAAC Requirements for the Estimation of Measurement Uncertainty (2007)

- NPAAC Requirements for the Retention of Laboratory Records and Diagnostic Material (Sixth Edition 2013)

- NPAAC Classification of human genetic testing Supplementary Guide 2007

- NPAAC Information for classes of genetic testing 2006

- NPAAC Requirements for quality management in medical laboratories 2007

The Laboratory Quality Manual outlines the Quality System and quality control procedures used by the [insert Laboratory name] to provide DNA diagnostic data.  The main objective of the Quality System is to define the authorities and responsibilities of the management personnel and to provide procedures for the main activities of the Centre.  Centre staff should carryout requested analyses with technical competence and professionalism, operating within the scope of the Quality System as defined in this document.  The Method Manual details the technical operations of this Centre.

The Laboratory Quality Manual must be made freely available to customers and acts to inform them of the specific controls implemented to assure the quality of the service provided by the [insert Laboratory name].

A hardcopy of this manual is kept in the Clinic, [insert location where manual is kept].

## 1.5	Confidentiality Policy

In accordance with section 4.1.5 of AS4633 (ISO15189) and the NPAAC Requirements for the retention of Laboratory records and diagnostic material the [insert Laboratory name] diagnostic testing service is required to ensure the protection of confidential information obtained from patients and arising as part of the testing procedure. Confidential information covers and includes patient identifiers and patient medical information including referrals and pathology documentation, in addition to those documents generated prior, during and after the testing procedure.

### 1.5.1	Collection and use of confidential information

The [insert Laboratory name] diagnostic testing service collects confidential information directly from Hospitals, Pathology Laboratories and associated medical testing facilities in documents such as diagnostic test request and test referral forms and as part of the labeling of patient biological specimens, via phone or in written correspondence.

The [insert Laboratory name] diagnostic testing service uses this information in a number of ways including:

- To administer and manage diagnostic testing services.

- To provide test results to clients.

### 1.5.2	Storage and security of confidential Information

Confidential information disclosed to the [insert Laboratory name] diagnostic testing service must be kept in secure environments accessed only by authorised persons. The majority of confidential information should be stored electronically on a NATA-Secure Drive or in hardcopy on storage discs and in files. The NATA-Secure Drive must be password protected with access limited only to diagnostic staff. The NATA-Secure Drive must have limited access on local machines by approved staff members only.

All hardcopies of confidential information must be stored in the Clinic, [insert location of stored confidential documents]. Confidential documents are not to be stored anywhere non-diagnostic staff members have unrestricted access, except for working documents, which when left unattended in the Laboratory are kept in a locked container. Documents must be locked in the Clinic and access to them restricted to diagnostic personnel only. It is essential that data is stored for ten years at minimum. Data from minors must be stored until the age of majority (18) plus ten years.

### 1.5.3	Disclosure of personal information

Personal information collected must be kept confidential. The [insert Laboratory name] diagnostic testing facility may not disclose any personal information unless it is to an authorised representative.

Confidential information disclosed to the [insert Laboratory name] diagnostic testing service must be kept in secure environments accessed only by authorised persons. It is important that all diagnostic staff take reasonable precautions to protect confidential details. These include:-

- closing any browsers upon completion of a restricted session;

- ensuring that staff have logged out or locked their work station if leaving it unattended for ANY period of time;

- not revealing usernames or passwords to anyone else;

- ensuring that all patient documents, if removed from storage are not left unattended. If they must be left unattended for ANY period of time they are to be stored in a locked secure area that non-diagnostic personnel do not have access to.

Staff responsibilities include:-

- maintaining the security of individual usernames, passwords and any other account information;

- maintaining the security of any keys or electronic cards that can be used to access confidential material;

- immediately notifying the managerial staff if there has been or there is reason to believe that the confidentiality of any diagnostic-related information has been compromised. In such a case a system report must be raised and the issue dealt with appropriately;

- being careful, vigilant and responsible whenever using systems or services that utilise confidential information.

Access to the computer network and access to restricted networks including the NATA-Secure Drive must be limited to authorised Staff members only. Access is granted for the term of employment only under the authorisation of the Director. The NATA-Secure Drive should only be accessed on campus through Networked Computers. Access to the NATA-Secure Drive must be terminated upon cessation of employment.

## 1.6	Management Review Policy

The [insert Laboratory name] diagnostic testing service should undertake annual management reviews. This procedure is outlined in Management Review Procedure documents, located in the Procedure Manual. This process is used to implement quality indicators for systematically monitoring and evaluating the Laboratory’s contribution to patient care. The procedure provides a framework for the regular, annual, systematic and independent review of current activity and future plans of all aspects of the [insert Laboratory name] diagnostic testing service. The scope of the management review must include the assessment of the Quality System in its entirety to ensure the continuing suitability and effectiveness of the medical testing services offered in support of patient care. Management review meetings should be held at the start of February each year and to cover the period commencing 01-JAN and ending 31-DEC of the preceding year.

# 2.0	MANAGEMENT

## 2.1	Document Control

Manuals and Policy Documents

A Master Index of all documentation pertaining to the Quality System should be located at the front of this document.  Amendments to these documents require the authorisation of the Director, Quality or Laboratory Manager and current versions should be recorded in the updated indices.

Obsolete documents must be labelled as such, signed off by the Laboratory Manager and one copy should be retained.  Extra copies are to be destroyed. Documents should be periodically reviewed to ensure their currency. If not reviewed during audits or in staff meetings due to methodological issues, this should be done during the management review, as stated in the instructions for that procedure.

All documents must be uniquely identified by the page footer and header details.  Details must include the print and amendment dates, version number, page number including the total number of pages and the issuing authority.

If amendments are hand written, the same procedure applies with regard to recording the change on the Master Index and other indices.  The Director, Quality or Laboratory Manager however must initial and date the written change.  At some stage the change must also be made to the electronic copy.

Samples Received Sheet

The Request Tracking Form records the date of receipt of samples, the client details, tests required and some additional information.  When the sample is processed, PCR and sequence outputs must be checked and recorded.  The Tracking Forms should be kept in their respective Diagnostic Testing folders, with complete copies kept at both the Clinic and Laboratory.  The current version of the Tracking Form should be stored in the Procedures Manual folder.  The completed sheets must be retained for 3 years, again with copies at both the Clinic and Laboratory.

This information must also be recorded in electronic form on the ‘Patient Samples Database’ (\\NATA-Secure\Laboratory Reference\DG database).

The last ten (10) years of data must be stored on the Laboratory’s computer hard drive (\\NATA-Secure) and a back-up copy kept on disc.

Sample Correspondence

Correspondence that outlines the service requested, as well as the accompanying sample information must be filed in the patient’s numbered (DG) folder and electronically in the patient’s DG computer database file.

Electronic Documents

A number of the documents detailed above have to be stored electronically.  Where changes are made to electronically stored documents, the version number must be updated and recorded in both the Document Amendment Register and Master Index.  The outdated version must then be retained on disc.

Registers

Procedures Manual; Document Amendment Register.

## 2.2	Review of Diagnostic Requests

Individual DNA Diagnostic requests

All request forms must be checked in order to verify that the necessary information has been provided.  Where vital information has been omitted, a Clinic staff member should contact the client (Doctor, Pathology Laboratory or Hospital), usually by telephone, for clarification. The exchange must be recorded, either directly onto the request form or onto a sheet of paper and filed in the Patient Folder behind the Tracking Form. In instances where samples are hand delivered to the Clinic, work should not commence until the request information has been confirmed. Furthermore patient results should not be released if sequence results are unclear.  If results are unclear or PCR unsatisfactory the analysis must be repeated.

Clients are guaranteed an appropriate analysis turnaround time from the time of sample receipt and the specified time must be met. If processing has been delayed this information along with an updated schedule should be provided to the client in order to ensure customer satisfaction.

## 2.3	Subcontracting of Tests and Calibration

Subcontracting of tests and calibrations is not a routine operation.  However, should the Laboratory be unable to carry out its function, due to, for example, sequencer failure, the tests should be out-sourced to another accredited Laboratory.  The results from these tests should be reported directly to the Laboratory Manager or Laboratory Operator.  The details of this exchange must be recorded on the client’s request forms or separately on a sheet of paper and filed in the Patient Folder.

### 2.3.1 	Selection of subcontractors

Currently, the [insert Laboratory name] diagnostic testing service either sub-contracts DNA sequencing technology to a referral Laboratory, or performs sequencing on its own platform. When outsourced, DNA sequencing work is always given to a competent subcontractor.  A competent subcontractor is defined as a NATA recognised testing authority. As an example, the [insert Laboratory name], is a recommended NATA accredited service provider for [insert type of testing service]. [Outline any current subcontractors used or existing contracts with accredited service providers]

In such a case where the routine competent subcontractor cannot fulfil the requirements of the testing procedure, a new competent subcontractor must be sort. Such a subcontractor is identified through a facilities and labs search on the NATA website (http://www.nata.asn.au/). If numerous competent subcontractors are identified, they are prioritised in terms of the following:

- Location. It is preferable that the subcontractor operates within Australia. A subcontractor in close geographical proximity minimises transport time and costs.

- Turn-around time. It is preferable that the subcontractor has a short turn-around time to minimise diagnostic test-turn around time.

- Cost. It is preferable that the selected subcontractor has a competitive costing per test, which ultimately benefits the customer/patient.

Though the above factors are important in selecting a competent sub-contractor at no point is location, turn-around time or cost to infringe on quality.

### 2.3.2 	Client notification of subcontractor

The [insert Laboratory name] diagnostic testing service must advise all clients in writing of the use of a DNA sequencing subcontractor. This information must be current and accurate. The details of the current competent subcontractor must be specified in the “notes” section of the Results Report Form.

### 2.3.3	Register of subcontractor

The details and scope of the current competent subcontractor’s accreditation must be registered in this Laboratory Quality Manual. In addition, the details and scope of past competent subcontractors must be registered in this manual. The details and scope of the current competent subcontractor must be periodically reviewed as part of the quality management system.

All work outsourced by the current competent subcontractor must be documented in full on all relevant patient documentation. This includes Request Tracking Forms and Result Report Forms. Request Tracking Forms and testing methodologies are referenced to the current competent subcontractor. Sample batch numbers and identification codes must be recorded on all patient related testing documentation to maintain traceability of all testing procedures.

If an alternate subcontractor is used on a temporary basis this must be recorded where appropriate on the Request Tracking Forms and Result Report Forms.

Alternatively, if the new subcontractor is to be providing services on a continual basis all relevant documentation must be updated to reflect this.

### 2.3.4	Present competent subcontractor

[insert Laboratory name]

### ACCREDITATION NO:

http://www.

Contact:	
Phone:

E mail:		
Fax:		 
Address:

Facilities:

Detailed Scope:

#### This facility complies with the requirements of ISO/IEC 17025:2005

## 2.4	Purchasing Services and Supplies

The potential variability in brand of reagent or equipment and the effect on the quality of work should be kept to a minimum by sourcing the same brand of goods and services through the approved suppliers listed below (Table 1).  Table 1 details the required reagents and equipment, the approved supplier’s contact details and the storage requirements where necessary.

Consumables, i.e. 1.5mL Eppendorf tubes, tips, tissues, should be sourced through reputable suppliers.

The IT Support department of the [insert Institute name] maintains all computers. [list any existing service contracts for IT related maintenance]

Contracts for equipment and consumables - service and supply.

Currently the Laboratory has agreements in place for the following goods and services:

 Bulk order supplies of DNA extraction (QIAGEN) kits

- [list all agreements]

Orders must be processed according to a standardised protocol [describe ordering process for facility]. Requirements for an order include the item description and catalogue number, the nominated supplier address, telephone and fax number and the account code from which the funds are to be deducted.  A copy of the Order Form should be filed in the ‘Orders’ folder.

The Laboratory Manager may be authorised to approve orders up to a designated threshold.  Orders over this amount will require the approval of more senior staff.  The Finance and Business Services (FBS) division processes orders which exceed the designated threshold.

When ordered items arrive they should be checked to ensure they are as requested, intact and without visible fault.  The item, where necessary, must also have been transported under the appropriate environmental conditions. Any discrepancy and action taken must be noted on the order form.  Chemicals should be labelled with the ‘date received’ and stored as per the manufacturer’s instruction, as recorded in Table 1.  Once the chemical is opened for use it must be labelled with the ‘date opened’. It is essential that batch numbers and date of first and last use are recorded in the Consumed Reagent Batch Record Form for those reagents used for diagnostic testing and sample preparation.

| Table 1 Facility Services and Supplies |  |  |
| --- | --- | --- |
| Reagent/Equipment | Supplier | Storage Requirement |
| QIAamp DNA Blood Midi Kit Catalogue No. 51183 or 51185 | QIAGEN Pty Ltd Aust PO Box 641 Doncaster Victoria 310 PH: 1800 243 066; FX: (03) 9840 9888 | Room Temperature |
| Agarose Gel Molecular biology grade DNA Agarose Catalogue No. [insert] | [insert supplier details] | Room Temperature |
| DNA Ladder (100bp) Catalogue No. N32315 | New England BioLabs Inc. PH: 1-800-632-5227 (1-800-NEB-LABS) FX: 1-800-632-7440 EMAIL: orderinfo@neb.com | Room Temperature |
| Epicentre Master Amp 2 x PCR Premix I/G/F/D Catalogue No. [insert] | [insert supplier details] | Freezer (-15oC - -25 oC) |
| Ethanol 100% | BDH ANALAR | Room Temperature |
| Eppendorf Tubes, 1.5ml Catalogue No. 509-GRDS-Q | Thermo Scientific™ QSP Eppendorf Tubes | Room Temperature |
| Filter Tips, 200µl Catalogue No. TF140-200-Q | Thermo Scientific™ QSP Pipette Tips | Room Temperature |
| Filter Tips, 10µl Catalogue No. TF104-10-Q | Thermo Scientific™ QSP Pipette Tips | Room Temperature |
| Reagent/Equipment | Supplier | Storage Requirement |
| Kimwipes Catalogue No. 34120 | KIMTECH SCIENCE* | Room Temperature |
| Applied Biosystems® MgCl2 Catalogue No. 58002032-01 | Applied Biosystems® PH: 1800 636 327 FX: (03) 9730 8799 | Freezer (-15oC - -25 oC) |
| Applied Biosystems® 10X PCR Buffer II Catalogue No. 58002026-01 | Applied Biosystems® PH: 1800 636 327 FX: (03) 9730 8799 | Freezer (-15oC - -25 oC) |
| dNTP Nucleotide Solution Mix Catalogue No. N0447S | E Freezer Genesearch PH: (07) 5594 0299 / 1800 074 278 FX: 7 5594 0562 | Freezer (-15oC - -25 oC) |
| SARSTEDT 50ml Centrifuge Tube Catalogue No. 62.547.254 | [insert supplier details] | Room Temperature |
| Screw Cap Lids Catalogue No. [insert] | [insert supplier details] | Room Temperature |
| 2ml Graduated Standing Screw Cap Micro Tube Catalogue No. [insert] | [insert supplier details] | Room Temperature |
| 0.2ml Strip Tubes & Cap for PCR Catalogue No. [insert] | [insert supplier details] | Room Temperature |
| ExoSAP-IT® Catalogue No. 78200 | GE Healthcare Bio-Sciences Pty. Ltd. Bldg 4B, 21 South St, RYDALMERE NSW 2116. Australia Customer Service - Toll Free 1 800 150 522 | Freezer (-15oC - -25 oC) |
| Reagent/Equipment | Supplier | Storage Requirement |
| Molecular Biology Grade Water Catalogue No. [insert] | [insert supplier details] | Room Temperature |
| Big Dye® Terminator v 3.1 or 1.1 Catalogue Nos. 4337456 or 4337451 | Applied Biosystems® PH: 1800 636 327 FX: (03) 9730 8799 | Freezer (-15oC - -25 oC) |

[List all reagents used for diagnostic purposes in the Table above with relevant details]

## 2.5	Control of Records

A record must be kept throughout various stages of the Laboratory process.  The records should be clearly identified by a title and/or content as well as date.  All records must be filed in their designated areas as detailed in Table 2.  Records must be filed throughout the process so as to protect and prevent unauthorised access to the record, and also to enable the record to be readily retrieved. The records should be kept in the Laboratory and the Clinic only, with access restricted to authorised staff.  At critical stages of the procedure, the identities of the staff concerned should be recorded. Where a correction is made to a record, the original entry should simply be crossed through and the amendment made, initialled and dated. Where a correction is made to a stored electronic copy, the change must be highlighted and the amended and original record saved. The file name should state which document is the amended version of the record.

The records have to be retained for the minimum requirement as detailed in the NPAAC Retention of Laboratory Records and Diagnostic Material 2013, as recorded in Table 2.

An annual audit of records must be performed to maintain or dispose of records no longer requiring storage.  Records may only be disposed of under the direction of the Laboratory Manager.

Table 2 below details the type of record and where it should be stored or how the action should be recorded.

| #### Table 2 Control of Records |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Record | Where or How Recorded | Where Stored | Retention Time (minimum) | #### Electronic Copy |  |
|  |  |  |  | Y/N | Retention Time |
| Request for Service | Diagnostic Sample Folder | Labelled ring-bound folder in Clinic filing cabinet and Laboratory. | 3 years | N |  |
| Sample receipt information | Diagnostic Sample Tracking Form | Labelled ring-bound folder in Clinic filing cabinet and Laboratory | 3 years | Y | 3 years |
| Laboratory Log Book | Sample, Sample No, Test, Barcode, PCR and photo | Red Laboratory Log Book, kept in Laboratory | 3 years | Y | 3 years |
| Samples Pending Sequencing | Tracking Form, Diagnostic Test Tracking Form | Manilla Folder on Diagnostic Laboratory Bench | 6 – 8 weeks | N |  |
| Test results | CD-ROM or Zip Drive, indexed with the DG# and date range | CD-ROM stored in filing cabinet or Diagnostic Laboratory Bench | 3 years | Y | Indefinite |
| Email Notification to Clinic | Checked off on Diagnostic Sample Tracking Form | Printed and stored in Patient DG Folder and Zip Drive | 3 years | Y | Indefinite |
| Storage of Results on Disc | Checked off on Diagnostic Test Tracking Form | As above | 3 years | Y | Indefinite |
| Purchase orders | Order folder | Labelled ring-bound folder on Laboratory shelf | 3 years | N |  |
| Equipment service records (GUDSF) | 377 Service Reports folder | As above | Life of machine + 3 years | N |  |
| Quality control records | Sequencing Controls, Laboratory Log Book | Labelled ring-bound folder on Laboratory shelf | 3 years | N |  |
| Internal QC review | Records and Documents Folder | As above | 3 years | N |  |
| External QA records and review | Records and Documents Folder | As above | 3 years | N |  |
| Non-conformance analysis | Records and Documents Folder | As above | 3 years | N |  |
| Audit reports | Records and Documents Folder | As above | 3 years | N |  |
| Record | Where or How Recorded | Where Stored | Retention Time (minimum) | Electronic Copy |  |
|  |  |  |  | Y/N | Retention Time |
| Incident or accident reports | Records and Documents Folder | As above | 3 years | N |  |
| Billing | Invoice Folder | Labelled ring-bound folder at Clinic | 3 years | Y | 3 years |
| Personnel and Training Records | Personnel folder | As above | Employment + 2 years | Y | Employ + 2 years |
| Methods | Procedures Manual | Labelled ring-bound folder at Laboratory | Current + 3 years | Y | Current + 3 years |
| Patient List | Samples Received folder, Diagnostic Sample folder, Computer Database | Labelled ring-bound folder at Clinic | 3 years | Y | 3 years |

## 2.6	Service to Client

New clients should be informed by telephone of the Laboratory’s requirements for sample collection and transport, details of the testing procedure and how and in what form the results are presented.

- Results for clients must be provided by letter reports, although if required results may be telephoned or faxed through once the hard copy has been prepared.

- The Laboratory operates on a pre-defined turnaround time for analyses.

- Clients must be informed should there be a problem/issue affecting their test results and it is essential that solutions/alternatives are discussed and recorded.

- The Clinic Supervisor, Quality Manager or Centre Director, as appropriate may provide advice to the client if so requested.

## 2.7	Complaints, Non-conformance and Improvements

A System Report Form should be used to record complaints, major non-conformances and suggestions along with any action taken.  The current version of this form must be kept in the Procedures Manual folder.

Complaints, non-conformances and suggestions must immediately be referred to the Centre Director or Quality Manager.  In the case of non-conformances, the Centre Director or Quality Manager should make an evaluation of the incident’s significance before starting a System Report form.  Complaints must be automatically and immediately recorded on a System Report Form.  Where applicable, the completed form may be forwarded to the client.

The client must be notified by the Centre Director of the impact of the non-conformance upon their test result and the work should be repeated if deemed necessary by either the Director or the client.

The Director, after full assessment of the problem and root cause, will authorise the resumption of work.

If the evaluation indicates that recurrence could occur then corrective action must be taken to ensure the Laboratory operates in line with its own quality policies and procedures.  Where it is identified that the Laboratory is not conforming to its own Quality System then an audit must be scheduled.

All aspects of the Laboratory’s operations should be routinely analysed by the Quality or Laboratory Manager and input sought from staff, potential sources of non-conformance or other areas where improvements may be identified. Where change is required, an action plan should be developed, implemented and monitored.  The entire process has to be recorded on the System Report Form. Where non-conformity has been noted in procedures, a full audit of the procedure should be undertaken as part of the System Report process.

## 2.8	Internal Audits

In order to evaluate the activities of the Laboratory and verify compliance to the Quality System, regular internal audits are required.

It is recommended that the auditor/s are selected and trained by the Quality Manager.  Once a year, an independent auditor is required from the current client base.  The training should specify what is required of the auditor and must provide a comprehensive understanding of the Quality System.

The detailed audit schedule follows.  The day of the month must be announced and set at least a month in advance.  The internal audit schedule should ideally cover all elements of the Quality System over a 12-month period.

At the completion of the audit, the auditor will brief the Laboratory Manager, and/or Quality Manager, regarding the results.

An Internal Audit Report (in Procedures Manual folder) identifying problem areas and the degree of urgency for remedial action should then be prepared and submitted to the Director and the Laboratory Manager.  The report should contain suggestions from the auditors to improve the Quality System.  A System Report Form should be filled out in cases where corrective action is required.

All documentation should be retained by the Laboratory Manager and filed in the Records and Documents folder.

Where corrective action has occurred, a follow-up audit should be scheduled to assess its effectiveness.

Where an audit identifies that Laboratory results have been affected, clients must be informed as to which results are in question.

| #### Audit Schedule |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month | J | ### F | M | A | M | J | J | A | S | O | N | D |
| Activity to audit |  |  |  |  |  |  |  |  |  |  |  |  |
| Quality manual and documentation | X |  |  |  |  |  |  |  |  |  |  |  |
| Equipment calibration and maintenance records |  | X |  |  |  |  | X |  |  |  |  |  |
| Records including personnel training |  |  |  |  |  |  |  |  | X |  |  |  |
| External QA/Internal QC | X | X | X | X | X | X | X | X | X | X | X | X |
| Handling of non-conformances and remedial action |  |  |  | X |  |  |  |  |  |  |  |  |
| Laboratory environment, housekeeping and health and safety |  |  | X |  |  |  |  |  |  |  |  |  |
| Test and calibration methods and method validation |  | X |  |  |  |  |  | X |  |  |  |  |
| Quality System with Client auditor |  |  |  |  |  |  |  |  |  |  | X |  |
| Invoicing and Accounts |  |  | X |  |  |  |  |  |  | X |  |  |

NB. Table extracted and kept on notice board [insert location]

## 2.9	Management Reviews

Management, at least once per year, must review the effectiveness of the Quality System. Refer to Section 1.7 of this Laboratory Quality Manual for the management review policy and the Procedures Manual for instruction on preparing the management review submission.

It is mandatory that management review findings are recorded and any actions required are carried out within an appropriate and agreed timescale.

The outcomes of management reviews should be relayed to the [insert Laboratory name] Advisory Committee.  This Committee is set up to review the submitted material and may similarly recommend changes to Centre practice where appropriate.

## 2.10 	Quality Indicators

Clause 4.12.4 in ISO 15189 requires Laboratory Management to implement quality indicators for systemically monitoring and evaluating the Laboratory’s contribution to patient care. The quality indicators identified for diagnostic testing at [insert Laboratory name] include the following:-

1. Turnaround time

- Clients must be guaranteed an appropriate analysis turnaround time from the time of sample receipt.

2. Confidentiality

- Confidential information disclosed to the diagnostic testing service has to be kept in secure environments accessed only by authorised persons.

- The diagnostic testing facility cannot disclose any personal information unless it is to an authorised representative.

3. Traceability

- Once a sample is obtained it must be labelled with a barcode and given an individual DG identification number.

- All blood and DNA samples and patient files should be labelled with a minimum of 2 unique identifiers.

- All experimental work must be detailed on tracking forms.

4. Blood usage

- All pathology specimens are regarded as potentially infectious and should be treated as such. It is mandatory that all staff members have appropriate health and safety training prior to using biological specimens.

- Protocols must be in place for sample receipt and sample rejection, which cover the following:

  - Specimens Received Unlabelled

  - Specimens Received Without Request Form or No Tests on Request Form

  - Request Forms Received with No Specimen

  - Request Forms Received with Incorrect Specimen

  - Extra Specimen Received

  - Broken / Leaking specimens

  - Insufficient samples

  - Out of Date specimens

5. Assay Reproducibility

- Quality control protocols for passing/failing samples at each stage of testing must be in place. These include the following:

  - DNA extraction requires sample to pass purity and concentration assessment.

  - PCR reaction set-up requires verification, preferably by two technicians.

  - AGE requires there are no DNA fragments in the negative control, that the amplicon is the correct size and that the positive control has been successfully amplified.

  - A clean sequence trace must be produced for the forward and reverse strands of the positive control and patient sample(s).

  - Screening of the positive ‘normal’ DNA control should indicate that no polymorphisms are present.

  - Polymorphisms must be present in both forward and reverse strands.

  - Sequence traces have to be aligned to the human genome using NCBI BLAST to ensure accurate amplification.

- Inclusion of a ‘normal’ DNA control and a negative (water) control for each forward and reverse reaction per exon.

- Separate PCR reactions for reverse and forward strand sequencing for each exon.

- Documentation of reagent use and batching of patient samples to maintain traceability and to identify possible non-conformances.

# 3.0	PERSONNEL

## 3.1	Duty Statements

The following duty statements are issued in accordance with the organisational structure detailed in section 1.4.2 of this Laboratory Quality Manual.

### 3.1.1 	Director

The Director has primary management responsibility of the Centre. The Director is responsible for the overall compliance of the Laboratory to this Laboratory Quality Manual and is the direct supervisor of all managerial staff and the Deputy Director. The Director is responsible for:

- implementing the policies of the Centre;

- planning and developmental activities of the Centre;

- directing the staff of the Centre in the day to day management of the Centre;

- approving the commitment of funds in accordance with the policies of the Centre;

- promoting and maintaining excellence in the teaching, training and developmental work undertaken by the Centre;

- obtaining and evaluating advice on the Centres activities;

- preparing annual reports on the work of the Centre and annual budget submissions;

- providing such other information and reports on projects, proposals and Centre activities as may be required by the School Committee (School of Medical Science) or requested by the Advisory Committee;

- providing resources, adjusting workloads, and providing training opportunities for Laboratory staff to facilitate completion of assigned tasks in a safe work environment consistent with test requirements and personnel capabilities;

- assigning deputies for the technical and managerial staff in the case of an absence; and

- attesting, by signature, to the validity of relevant documentation, Laboratory tests and reports.

### 3.1.2	Deputy Director

The Deputy Director will assume the role and responsibilities of Director in the absence of the Director, in particular the implementation of major financial or policy changes.

### 3.1.3	Laboratory Manager

It is the function of the Laboratory Manager to oversee the day-to-day running of the Centre.  This includes the supervision and training of staff involved in calibration and testing processes and the maintenance of Laboratory resources. The Laboratory Manager has direct access to and receives direction from the Centre Director. The Laboratory Manager:

- monitors the Laboratory’s practices to verify compliance with the policies and procedures;

- evaluates instrument calibration and management records;

- investigates technical problems, proposing of remedial action and verifies their implementation;

- administers proficiency testing and evaluates the results;

- selects, trains and evaluates internal auditors;

- schedules and coordinates Quality System audits;

- maintains training records of Laboratory personnel;

- reviews feedback received by clients and implements necessary changes;

- enforces the applicable good Laboratory practices described in reference documents;

- is responsible for the overall administrative and technical operations of the   Laboratory;

- maintains and orders Laboratory consumables; and

- maintains equipment within the Laboratory.

### 3.1.4	Quality Manager/Scientist

It is the responsibility of the Quality Manager/Scientist to oversee the daily operations the Diagnostic Service as well as assisting anyone in the Laboratory with technical questions.  The Quality Manager/Scientist has direct access to and receives direction from the Centre Director. The Quality Manager/Scientist is also responsible for:

- being a scientist who has completed the required level of training as specified in accreditation requirements of AS 4633 (ISO 15189);

- maintaining, analysing, and updating quality control systems;

- maintaining the quality manual;

- having direct access to management;

- monitoring the Laboratory’s practices to verify compliance with the policies and procedures.

- evaluating instrument calibration and management records

- investigating technical problems, proposing of remedial action and verifying their implementation

- administering proficiency testing and evaluating the results

- selecting, training and evaluating internal auditors

- scheduling and coordinating Quality System audits

- maintaining training records of Laboratory personnel

- reviewing feedback received by clients

- being responsible for the overall administrative and technical operations of diagnostic testing;

- specifying and/or approving all methodologies used;

- implementing good Laboratory practices by providing instruction and training as needed, developing work plans and procedures, and requiring that these be followed in all day-to-day operations;

- attesting, by signature, to the validity of all Laboratory tests and reports;

- attesting, by signature, to the validity of relevant documentation, Laboratory tests and reports (including in the absence of the Director);

- ensuring continued accreditation of the Laboratory; and

- in the absence of the Laboratory staff fulfilling the specified duties and responsibilities.

### 3.1.5	Clinic Supervisor

It is the responsibility of the Clinic Supervisor to carry out duties as documented in the Procedures Manual and to supervise other Clinic Staff accepting incoming samples for analysis.  The Clinic Supervisor has direct access to and receives direction from the Centre Director. The Clinic Supervisor:

- is responsible for the overall administration and operation of the Clinic;

- implements good practices by providing instruction and training as needed, develops work plans and procedures, and requires that these be followed in all day-to-day operations;

- attests, by signature, to the validity of all Clinic related documentation and reports; and

- in the absence of the Clinic staff fulfills the specified duties and responsibilities.

### 3.1.6	The Clinic Staff

The Clinic Staff has direct access to and receives direction from the Clinic Director. The Clinic Staff:

- complies with all procedures and policies;

- attests, by signature, to the validity of the documentation; and

- handles specimen reception, patient documentation and reports.

### 3.1.7	Laboratory Operator

The Laboratory Operator has direct access to and receives direction from the Quality Manager/Scientist. It is the responsibility of the Centre Operator to carry out the technical duties in the Laboratory as per the method manual and operate within the scope of the Laboratory Quality Manual.  The Laboratory Operator:

- complies with all procedures and policies;

- attests, by signature, to the validity of the tests conducted; and

- performs Laboratory testing procedures.

### 3.1.8	Advisory Committee

The Advisory Committee is comprised of the Director of the Centre, [insert a list of all advisory committee members] and the committee secretary. [Describe members of advisory committee according to the Laboratory’s arrangements].  The Facility Advisory Committee should convene at least annually. The functions of the Advisory Committee are to:

- Advise the Director of the Centre and the School Committee of the School of Medical Science on matters referred to it for comment.

- Receive yearly reports on the work of the Centre and its finances from the Director of the Centre and to transmit them to relevant persons.

- Receive annually from the Director of the Centre a submission for the funding of the Centre from the operating budget, and for the allocation of other resources.

- Consider and advise the Director of the Centre on the means of establishing and maintaining effective contacts relevant to the activities of the Centre.

## 3.2	Staff Training

New employees must be trained under the supervision of the Laboratory Manager, Quality Manager and Senior Scientist.  All aspects of the procedure must firstly be demonstrated to the trainee and then hands-on experience is gained by carrying out individual tasks during a run.   A list of each technical milestone in the process should be kept with the Laboratory Manager noting when the trainee operator demonstrates competence. Details must be recorded on the Staff Training Record kept in the Personnel Folder. When the operator is competent in all steps of the process, the Laboratory Manager should assign the operator competency. This competency should be re-assessed periodically, during procedure audits, or at least on a bi-yearly basis.

## 3.3	Staff Induction

New staff members must attend the relevant Occupational Health and Safety (OHS) courses as required and provided by the facility.

## 3.4	Workplace Health and Safety

The Facility is required to operate within the guidelines set out by Workplace Health and Safety policy.

This document outlines the legal obligations of both staff and students in the workplace as defined by The Workplace Health and Safety Act, 2011. Basically, this Act places an obligation on every person to ensure his or her workplace health and safety and the workplace health and safety of others. Refer to the web link below for the full Workplace Health and Safety Act.

http://www.legislation.act.gov.au/a/2011-35/current/pdf/2011-35.pdf

A copy of the ‘Risk Management Hazard Identification and Risk Assessment Guide’ should be located within the Facility’s Safety folder. Also included should be an Incident Report Form, the contact details of the Institute’s Workplace Health and Safety Officers (WHSOs) and relevant Material Safety Data Sheets (MSDSs).

# 4.0	TECHNICAL SERVICES

## 4.1	Accommodations and Environment

The Laboratory is located [insert location]. This room is dedicated solely to the Centres operations and authorised personnel obtain access by key.  The Laboratory must be locked when vacant.

The various tasks within the testing process should be performed at designated benches.  These areas must be kept clean and orderly.  Rubbish should be removed daily.

Thermal Cyclers, centrifuges, refrigerator, freezer and computers must be connected to an electrical circuit that has a back-up generator.

In the event of a problem with the air conditioning or electrical supply, the maintenance department should be notified on [insert phone number and contact details for maintenance].

The Clinic is located at [insert location].  This building should be monitored by security and have its own maintenance staff for air-conditioning, electrical and cleaning concerns.  Records must be locked away in filing cabinets.

## 4.2	Test and Calibration Methods and Method Validation

The Procedure Manual details the testing procedures used in DNA diagnostic analyses.

Equipment used by the Laboratory, plus information regarding calibration and user checks, must be listed under Equipment Maintenance.

## 4.3	Sample Preparation and Tracking

Samples received should be forwarded to the Clinic as DNA or whole blood according to instructions issued by the Laboratory.

If there is a problem with the sample upon receipt, for example the tube is cracked, or the sample has remained too long at room temperature the client should be notified and a recollection requested.  This is recommended to be done by telephone to the client and a note kept with the Request Sample Tracking Form.

Once a sample is obtained it must be labelled with a barcode and given an individual DG identification number. This number must be used from the point of labelling onwards with sample analyses.  The sample (blood or DNA) should then be transported in a secure container packed with ice bricks and sent to the Laboratory.  If transport cannot take place within the same day of receipt, blood samples should be frozen at the Clinic in the -20ºC designated freezer, then transported when appropriate to the Laboratory, taking less then an hour transport time.  DNA samples not sent within the same day of receipt can also be stored at the Clinic at 4ºC in the designated fridge until they can be transported.

## Organisation of Samples in Runs

Once the samples have been received by the Laboratory a DG Patient Folder must be set-up for the patient sample with the respective Request Tracking Form.  The patient sample, ID number and all other patient information should be recorded in the Diagnostic Database before processing is commenced.

If the sample received is blood, DNA should be extracted as per the Method in the Procedures Manual.  DNA would then be used for an initial PCR to amplify the specific exon(s) or intron(s) with a subsequent check for the quality and quantity of the PCR product.  A PCR gel photo must be included in the Diagnostic Test Tracking Form.  If PCR results are satisfactory the sample can then be enzyme digested, quantitated and prepared for sequencing reactions, as per the methods in the Procedures Manual.

The sample can either be sent to a subcontractor or retained in-house for sequencing reactions. If sent to a sub-contractor the sequence should be analysed by comparison to a control sequence, as per the methods in the Procedures Manual.

If the sequence is clear, a report can then be generated and sent via the Centre Director to the client.  If results are unclear or inconclusive, the DNA sequencing must be repeated or a new sample obtained if the second repeat is also unclear, as outlined in the methods in the Procedures Manual.

## 4.5	Handling of Test and Calibration Items

For all sequencing analyses a negative and positive control must be included at the PCR stage. The positive control should be processed along with patient samples and included in sequencing runs, as outlined in the Procedures Manual.

## 4.6	Quality Control

SEPARATE PRE AND POST-PCR AREAS

The Laboratory should have separate pre and post PCR areas. Blood, DNA and PCR reactions, equipment and reagents must be processed and stored in pre PCR areas. Likewise, PCR product, purified product, equipment and reagents must be processed and stored in a separate post PCR area.

POSITIVE AND NEGATIVE CONTROLS

All diagnostic samples processed through the Laboratory should be processed with a negative control sample being nuclease free water.  A negative control must be prepared for each exon that is amplified for each diagnostic test.  The negative control sample for each exon should be checked when samples are confirmed by agarose gel.  Confirmation of the negative control and diagnostic sample is required for testing to proceed.  Should either sample fail PCR, this should be recorded on the Request Tracking Form for the diagnostic test being performed and the sample must be reprocessed through PCR.

Prior to executing a PCR reaction, the reaction set-up must be verified by a second individual to ensure the correct reagents, volumes and samples are in use. This must be documented on the Request Tracking Form.

A positive DNA control and negative water control must be run with each assay performed. Gel visualisation of PCR amplicons ensures consistent amplification of the positive standard and ensures that assays are free from contamination.  Fragment size should be assessed against a standardised DNA fragment “ladder” and against referenced standards for each exon.

If a sample fails quality control at any stage, the test has to be performed again. Depending on the nature of the quality control issue either a new sample should be sought or alternatively the test can be re-performed.

DNA SEQUENCING

All sequencing data from subcontractors should be quality scored using appropriate software, while in-house data quality can be scored by the ABI sequencing software available on the local machine. Customers can request this quality information to be provided along with their sequence data.
Quality information can be provided on an individual sequence basis and across the project as a whole.

SEQUENCE VALIDATION

All patient sequences should be aligned using the Basic Local Alignment Search Tool (BLAST) with referenced sequences, in addition to manual screening for known disease causing variants.

## 4.7	External Quality Assurance (QA)

The Laboratory should exchange samples with another NATA accredited Laboratory, on advice from NATA Australia to ensure adequate quality control procedures are in place. It is also recommended that the Laboratory registers in the HGSA and/or EMQN Quality Assurance program each year to help develop external quality assurance measures.

## 4.8	Reporting Results

Test sequencing results are posted to the Laboratory if performed using a subcontractor service, for example the [insert Laboratory name].  The data files will be emailed as attachments or according to Laboratory instructions. In-house sequencing results will be available directly from the 3130 sequencer.

Diagnostic results should be reported to the client in hardcopies of labelled electronic files with a copy of the DNA sequence.  These must be checked by the Centre Director before signing and posting to the client.  If requested, test results can be telephoned or emailed to the client once the hard copy has been generated.

## 4.9	Billing for Services

Upon completion of testing and posting of reports, clients should be invoiced for the work performed by the Centre.

The procedures involved in client billing are detailed in the Invoice Manual. Also detailed are the required audits and any individual client instructions regarding invoicing.

# 5.0	EQUIPMENT MAINTENANCE

## 5.1	Maintenance and Calibration

Procedures for the calibration and ‘user checks’ of equipment are detailed in the Procedures Manual folder. All calibration records generated must be filed within the Records and Documents folder.

Instrument faults are referred to the Laboratory Manager who will then engage the services of a technician to assess/rectify the problem.

## 5.2	Equipment List

Equipment

| Name | Model # | Serial # | Date in Service | Calibration/ Service Interval | Service/Repair Contractor |
| --- | --- | --- | --- | --- | --- |
| Pre-PCR Westinghouse Refrigerator could you put size? | [insert details] | [details to be included] | [insert details] | User checks | [insert general maintenance details] |
| Pre-PCR Westinghouse Freezer |  |  |  |  |  |
| Post-PCR Westinghouse Refrigerator |  |  |  |  |  |
| Water Bath |  |  |  | User checks | Thermoline Scientific (07) 3260 5243 |
| Centrifuge, Sigma |  |  |  | Annual | Quantum Scientific (07) 3369 9544 |
| Centrifuge, Eppendorf |  |  |  | User checks | Quantum Scientific (07) 3369 9544 |
| Centrifuge, Eppendorf |  |  |  | User checks | BioLab 1300 735 292 |
| Applied BioSystems® Gene AMP® PCR System 9700 |  |  |  | User Checks | Applied Biosystems® (07) 3369 2589 |
| PCR Machine |  |  |  | User checks | Corbett Research (07) 3841 7077 |
| Veriti® 96-Well Thermal Cycler, Applied Biosystems® |  |  |  | User Checks | Applied Biosystems® (07) 3369 2589 |
| Name | Model # | Serial # | Date in Service | Calibration/ Service Interval | Service/Repair Contractor |
| BIO-RAD Horizontal Gel Tank |  |  |  | User checks | BioRad Laboratories Pty Ltd. 391 Park Road, Regent Park NSW 2143 AUSTRALIA |
| Life Technologies/GIBCO® BRL Electrophoresis Power Supply |  |  |  | User checks |  |
| BIO-RAD Power Pac (Basic) |  |  |  | User checks | Bio-Rad Laboratories Pty Ltd. 391 Park Road, Regent Park NSW 2143 AUSTRALIA |
| Savant™ DNA SpeedVac™ DNA 110 |  |  |  | User checks |  |
| Email Air Handling Biological Safety Flow Cabinet, Class II |  |  |  | Annual | NATA Certified |
| Autoclave TOMY High Pressure Steam Sterilizer |  |  |  |  |  |
| AND Electronic Balance A&D Weighing |  |  |  | User checks | Selby BioLab (03) 9263 4300 |
| HP DeskJet 970 CXI |  |  |  | User checks |  |
| Dell Computer |  |  |  | User checks |  |
| Compaq Computer |  |  |  | User checks |  |
| Name | Model # | Serial # | Date in Service | Calibration/ Service Interval | Service/Repair Contractor |
| Pre-PCR Pipette- Gilson Pipetman Ultra® | U2 |  |  | User checks/Annual | John Morris Scientific Service & Calibration Ph (07) 3854 1713 61-63 Victoria Ave Chatswood NSW 2067 AUSTRALIA |
| Pre-PCR Pipette- Gilson Pipetman Ultra® | U20 |  |  | User checks/Annual |  |
| Pre-PCR Pipette- Gilson Pipetman Ultra® | U200 |  |  | User checks/Annual |  |
| Post-PCR Pipette- Genex Beta | Genex Beta 0.5-10 |  |  | User checks | Instrument Servicing Biolab (Aust) Pty Ltd. Ph 1300 735 292 2 Clayton road, Clayton 3168 Locked Bag 24, Mulgrave VIC 3170 AUSTRALIA |
| Post-PCR Pipette- Genex Beta | Genex Beta 2-20 |  |  | User checks |  |
| Post-PCR Pipette- Genex Beta | Genex Beta 20-200 |  |  | User checks |  |
| Panasonic Microwave |  |  |  | User checks |  |
| Sanyo Incubator |  |  |  | User checks |  |
| Chiltern Vortex Mixer |  |  |  | User checks |  |
| Tomy Capsulefuge |  |  |  | User checks | Quantum Scientific (07) 3369 9544 |
| Pharamacia LKB-Macrovue |  |  |  | User checks |  |
| Kodak Digital Camera |  |  |  | User checks |  |
| NanoDrop® ND-1000 Spectrophotometer + ND-1000 3.3 Software |  |  |  | User Checks | BioLab Ph 1300735292 Fax 1800 067 639 www.biolabgroup.com/aus info@aus.biolabgroup.com |
| Name | Model # | Serial # | Date in Service | Calibration/ Service Interval | Service/Repair Contractor |
| NanoDrop® ND-1000 Computer Hard-drive- hp compaq Screen- SAMSUNG |  |  |  | User Checks | (INS REF 007344) |
| Pre-PCR Fridge SPER SCIENTIFIC Alarm Thermometer |  |  |  | User Checks/ 6 month calibration |  |
| Post-PCR Fridge SPER SCIENTIFIC Alarm Thermometer |  |  |  | User Checks/ 6 month calibration |  |
| Pre-PCR Freezer SPER SCIENTIFIC Indoor/Outdoor Thermometer |  |  |  | User Checks/ 6 month calibration |  |
| QIACube DNA Extraction Robot | QIACube |  |  | Calibration by QIAGEN technician | QIAGEN |

[List all relevant equipment and details in the above Table]