# Purpose

This document provides an overall view of the principles of validation that are applied within the facility.

Validation is the generation, collection and documentation of data that demonstrates that the products and services provided meet the requirements stated in specifications and regulatory documents.

## References

## Insert list of referenced documents here

## Definitions / Abbreviations

## Insert list of referenced terms and acronyms here

# Policy Statement

The facility will ensure that all infrastructure, systems, equipment and processes involved in the manufacture of product, are validated to demonstrate that they are capable of consistently producing the expected outcome.

# Validation Master Plan

| Regulatory Standards | - Code of Good Manufacturing Practice: [insert relevant code of GMP here] - PIC/S Guide to manufacturing of medicinal products: Annexe 15 – Qualification and Validation |
| --- | --- |
| Scope: | Validation and / or Qualification principles are to be applied to; - manufacturing processes - Facilities - Critical Equipment - Critical Material Stages of validation are; - Planning - Conducting - Implementing - Change management All new facilities, processes, items of equipment, or critical materials must be validated, and /or qualified. All changes to existing facilities, items of equipment, or critical materials may require validation dependent upon the level of risk to the manufactured product. Validation activity; Description. Validation; Requires a Validation protocol and Validation report.. Qualification; Equipment - May require a design qualification (DQ) - Must have an installation qualification (IQ) - Must have an operational qualification (OQ) - May require a process qualification (PQ) Material - Must have a process qualification (PQ). |
| Organisational Structure of Validation Activities | Risk Analysis to determine level of validation |
|  | Validation - Validation Protocols - Validation Reports - Validation Register |
|  | Qualification - Qualification procedures - Qualification records - Critical Equipment Register - Critical Material Register |
| Documentation | Document controlled templates must be used for the preparation of validation documents. |
| Change Control | Where changes to previously validated processes, equipment, critical material, or facilities are planned, they must be validated to ensure that they meet, or exceed organisational requirements, and that they comply with regulatory guidelines and standards. Validations are not to be performed retrospectively without the authorisation of the Quality Manager and the Production Manager. |

# Document Change History Record

| Document Owner |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Version Number | Section Amended |  | Amendment Details | Date of Approval |  |