# MSC Flow Cytometry Form

### Product Number: ________________________	Passage: _____________

VIABILITY

| Date: | Flow Cytometer:  Canto A  Canto B |
| --- | --- |
|  Daily QC results checked & acceptable |  |
| Signature: |  |

|  | Volume | Lot Number | Expiry Date |
| --- | --- | --- | --- |
| FITC CD90 | 2.5L |  |  |
| 7-AAD Viability Dye | 5L |  |  |
| Flow buffer | 500L |  |  |

| %Viability Result |  |  Instrument print-outs attached |  |  |
| --- | --- | --- | --- | --- |
| Performed by (Name) |  |  | (Sign) |  |

CHARACTERISATION

| Date: | Flow Cytometer:  Canto A  Canto B |
| --- | --- |
|  Daily QC results checked & acceptable |  |
| Signature: |  |

|  | Lot Number | Expiry Date |
| --- | --- | --- |
| BD Human MSC Analysis Kit |  |  |
| PE hMSC Negative Cocktail |  |  |
| PE hMSC Isotype Control Negative Cocktail |  |  |
| hMSC Positive Cocktail |  |  |
| hMSC Isotype Control Positive Cocktail |  |  |
| PE Mouse Anti-Human CD44 |  |  |
| PE Mouse IgG2b, k Isotype Control |  |  |
| Internal QC | Identification Number: |  |

|  |  | CD90 | CD105 | CD73 | CD44 |
| --- | --- | --- | --- | --- | --- |
| % Expressed >90% is acceptable | Internal QC |  |  |  |  |
|  | Sample |  |  |  |  |

|  |  | Negative markers (CD34, CD11b, CD19, CD45, HLA-DR) |
| --- | --- | --- |
| % Expressed <5% is acceptable | Internal QC |  |
|  | Sample |  |

| ### QC Acceptable:  Yes  No |  |  |  Instrument print-outs attached |  |  |
| --- | --- | --- | --- | --- | --- |
| Comments: |  |  |  |  |  |
| Performed by (Name) |  |  |  | (Sign) |  |

REVIEW PRIOR TO RELEASE

| Name: |  | Sign: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |