# flow cytometer training

| Name: |  | Commencement Date: |  | Position Title: |  |
| --- | --- | --- | --- | --- | --- |

### COMPETENCY OBJECTIVES:

|  | - Understand the documented procedure |  | - Perform the procedure |  |  | - Complete the relevant records |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ### Process (examples provided) |  | ### Procedure | ### Date read | Observed |  | ### Performed Supervised |  | I have understood & completed this training |
|  |  |  |  | Date | Trainer | Date | Trainer |  |
| Start-up |  | Flow Cytometer Start-up & Shut-down DOC135 |  |  |  |  |  |  |
| Shut-down |  |  |  |  |  |  |  |  |
| CS&T Beads QC |  | Flow Cytometer Quality Control DOC146 |  |  |  |  |  |  |
| 7-Colour Beads QC |  |  |  |  |  |  |  |  |
| Purge fluid filters |  | Flow Cytometer Maintenance DOC136: Scheduled Maintenance |  |  |  |  |  |  |
| Clean flow cell |  |  |  |  |  |  |  |  |
| Decontaminate fluidics |  |  |  |  |  |  |  |  |
| Replace fluid filters |  |  |  |  |  |  |  |  |
| Prime fluid lines |  | Flow Cytometer Maintenance DOC136: Unscheduled Maintenance |  |  |  |  |  |  |
| Change cubitainer |  |  |  |  |  |  |  |  |
| Remove an air lock |  |  |  |  |  |  |  |  |
| Purge bubble filter |  |  |  |  |  |  |  |  |
| Reconnect fluidics tubing |  |  |  |  |  |  |  |  |
| Reset circuit breaker switch |  |  |  |  |  |  |  |  |

### COMPETENCY STATEMENT: ___________________________________________	     has successfully achieved the manufacturing competencies listed above.

Back slash the final box for those competencies not relevant to this training record.

This checklist has been used to record:   Achievement of new competencies 		 Confirmation of existing competencies

| ### Position (Manufacturing) | ### Signature | Date |  | ### Position (Quality) | ### Signature | ### Date | ###  (Insert quality management software name) record updated |
| --- | --- | --- | --- | --- | --- | --- | --- |