# Purpose

The purpose of this SOP is to outline the procedures to be followed in the event of a biological spill.  This SOP does not cover chemical spills.  Refer to the relevant facility contingency SOP for the procedure for handling chemical spills.

# Responsibilities

| Position | Responsibilities |
| --- | --- |
| All Staff | Ensuring all spills are cleaned up promptly and properly Knowing the properties of the materials they are working with Knowing if they are working with a Risk Group 2 organism |
| Quality Officer | Ensure cleaning disinfectants are readily available within the work areas |

# Equipment & Supplies

- Viraclean

- Klercide-CR Biocide C

- Sterile 70% Alcohol

# References

## AS/NZS 2243.3:2002 Safety in laboratories Part 3: Microbiological aspects and containment facilities

## Insert document references here

# Additional information

## Definitions:

## Risk Group Organisms:  As defined in AS/NZS 2243.3:2002.

## Notifiable Spill:  All spills involving human blood and body fluids and Risk Group 2 organisms of greater than 100ml

## BSC:  Class 2 Biological Safety Cabinet

# Procedure

## Assigning of Risk Group

In laboratory dealings micro-organisms are classified according to their level of risk.

This classification is based on factors such as:

•	Pathogenicity – resulting disease incidence and severity;

•	Route of transmission - aerosol, ingestion, parenteral;

•	Target hosts;

•	The concentration of organisms in the media;

•	Ability to survive - over time and when exposed to disinfection regimes; and

•	Availability of prevention and treatment measures.

The primary reference for organism classification is AS/NZS 2243.3:2002 Safety in laboratories Part 3: Microbiological aspects and containment facilities.

### Risk Group 1

#### Present a low individual and community risk;

#### A micro-organism that is unlikely to cause human, plant, or animal disease;

#### PC1 laboratory required

### Risk Group 2

#### Present a moderate risk to individuals and a limited community risk;

#### A micro-organism that can cause human, plant or animal disease but is unlikely to be a serious hazard to laboratory workers;

#### Exposure may cause infection, but effective treatment and preventative measures are available, and the risk of spread is limited;

#### Work with risk group 2 organisms may be carried out on the open bench or if there is significant risk from the production of aerosols, a BSC is to be used;

#### PC2 laboratory is required

### Risk Group 3

#### Present a high risk to individuals and a limited community risk;

#### A pathogen that usually produces life threatening human or animal disease and represents a serious hazard to laboratory workers and is readily transmittable from one individual to another;

#### Effective treatment and preventative measures are not usually available;

#### Work with risk group 3 organisms is required to be carried out in PC3 facilities

### Risk Group 4

#### Present a high risk to individuals and a high community risk;

#### A pathogen that produces life-threatening human or animal disease;

#### Represents a serious hazard to laboratory workers and is readily transmittable between individuals;

#### Effective treatment and preventative measures are not usually available;

#### Work with risk group 4 organisms is required to be carried out in PC4 facilities

## General Information

### Note: All spills involving human blood and body fluids are normally regarded as Risk Group 2 spills.

### Personal safety, and that of other staff, patients and visitors, is the first consideration when dealing with a spill.

### The materials used to deal with a spill depend on the size, location and type of spill.

### All spills must be dealt with immediately.

### Disposable gloves must be worn when cleaning up spills.

### Protective eyewear must be worn if there is a risk of splashing.

### Clean towards the centre of a spill to minimise the spread of material.

### Use gentle movements when cleaning to minimise the production of aerosols.

### For larger spills, look out for drops or splashes that have spread beyond the main body of the spill.

## Liquid Spills

### Liquid spills generally have 3 components:

#### The bulk liquid that puddles on the floor

#### Small splashes of liquid that are distributed around the spill

#### Smaller droplets that form airborne particles (aerosols)

## Infectious Spills outside the BSC

### If a spill of infectious liquid occurs:

#### Immediately evacuate the room and take steps to keep others out

#### The air handling system must continue running. Do not perform an emergency shutdown

#### If clothing or footwear is contaminated, take measures to avoid spreading contaminated material.  Decontaminate, contain, or remove items as appropriate e.g. Remove gown. Cover footwear with clean plastic bags

#### Allow sufficient time for the aerosol created to settle before re-entering the room

#### Cover the spill with absorbent material such as a paper towel or a spill pillow

#### Continue to wipe up the spill with wipes dampened with Biocide C

#### Clean the area with Biocide C and leave to dry

#### Wipe the area and immediate surrounds with 70% IPA.

#### Decontaminate or discard consumables and equipment adjacent to the spill

#### Place all waste in an autoclave bag for disposal

#### Change outer pair of gloves

#### Extensively wash any exposed areas of skin with antibacterial soap and water

#### Note: Ensure that a Medical Practitioner is contacted in the event of skin contact

## Infectious Spills inside the BSC

### If a spill of infectious liquid occurs:

#### Leave the cabinet running

#### Cover spill with wipes dampened with Viraclean

#### Clean the area with Viraclean and leave to dry

#### Clean the area with 70% IPA

#### Decontaminate or discard consumables and equipment adjacent to the spill

#### Place all waste in an autoclave bag for disposal

#### Change outer pair of gloves

#### Perform a clean of the BSC as described in Cleaning of Cleanrooms and Associated Rooms

## Infectious Spills involving Equipment

### Centrifuges:

#### All Spills must be cleaned up at the end of the run. The run should be stopped if necessary

#### Centrifuges must not be used if there is spilled material in either the chamber or buckets

#### If there is a break inside a centrifuge bucket the whole bucket must be transferred to a BSC and left for 10 minutes to allow aerosols to settle

#### Liquid Contents of Centrifuge:

#### Transfer sealed buckets to BSC

#### If waste volume < 100 mL:

#### Into an autoclave bag, place sufficient absorbent wipes to absorb spill

#### Transfer bucket contents to autoclave bag and discard

#### If waste volume > 100 mL:

#### Transfer bucket contents to 3L waste bottle

#### Treat as fluid waste

### Incubators/Refrigerators:

#### If any product has been affected, notify the Production Manager. The extent of the contamination will be determined, and appropriate remedial action will take place

#### If the spill has contaminated the water in the base of the incubator, the incubator must be cleaned. Refer to Cleaning of Cleanrooms and Associated Rooms SOP

#### Place all waste into an autoclave bag or waste bottle as appropriate. Refer to Waste Management SOP.

## Spills involving GMOs

### If a spill of GMOs occurs inside the facility, the procedures detailed in Sections 6.3 to 6.6 must be implemented to decontaminate the spill as soon as possible.

### If a spill of GMOs occurs outside the facility the procedures detailed in Section 6.4 must be implemented to ensure that all split material is recovered and any contaminated surfaces are decontaminated.

### Any real or suspected unintentional release of GMOs outside the facility, including spills, must be reported to the OGTR and the Hospital Biosafety Representative as soon as reasonably possible.

## Reporting of Spills

### All major spills must be reported to the Production Manager or delegate immediately.

### A major spill is defined as a spill where one or more of the following occurs:

#### Hazardous material comes into contact with skin, eyes etc

#### A break occurs in the skin

#### The spill splashes over an area larger that 30cm in diameter

#### The spill involves an agent transmitted by aerosol

# Changes to previous version

- New Document

# Appendices

N/A

# End of document