# facility recertification review

Facility annual re-certification testing was performed from: _______________ to _________________

## Recertification Reports

### Pressure transducer calibration

Test Date:______________ Reported by: ______________________ Company:______________________

Comment: _____________________________________________________________________________

### Temperature and humidity calibration

Test Date:______________ Reported by: ______________________ Company:______________________

Comment: _____________________________________________________________________________

### HEPA filter integrity, air velocity, room air change rates

Test Date:______________ Reported by: ______________________ Company:______________________

Comment: _____________________________________________________________________________

### Room particulate testing

Test Date:______________ Reported by: ______________________ Company:______________________

Comment: _____________________________________________________________________________

### BSC particulate testing

Test Date:______________ Reported by: ______________________ Company:______________________

Comment: _____________________________________________________________________________

## facility preventative maintenance report

Date Performed:____________  Reported by: ____________________  Company:___________________

Comment: _____________________________________________________________________________

## cleaning

Post re-certification major clean performed, as per Major Clean. Date: _________________ Rotation: _____

## Environmental monitoring

Monitoring performed, as per Environmental Monitoring. Date:_______________ Operator: _____________

Date report received: __________________

Comment: _____________________________________________________________________________

## Building management system

Temperature, pressure and humidity monitoring results reviewed, from ___________  to ______________

Comment: _____________________________________________________________________________

## Authorisation

The above reports were reviewed by (signatures): 	Production Manager:  _______________________

Quality Manager: _____________________________	Scientist in Charge:_________________________

Comments:_____________________________________________________________________________

Facility re-certification test results meet specifications.

Authorised by (name & signature): _____________________________________ Date authorised: _______