|  | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared by: |  |  |  |
| Authorised by Production Manager, or delegate |  |  |  |
| Approved by Quality Manager, or delegate |  |  |  |

# Introduction

## Brief description of the item,or process to be validated. For equipment or Material complete the table below;

| Equipment / Material Name |  |
| --- | --- |
| Serial Number / Batch Number |  |

## Purpose of validation

| Type of Validation |  | Comments |
| --- | --- | --- |
| New Validation (Prospective) |  |  |
| New Validation (Retrospective |  | Must state why retrospective validation is being performed |
| Re-Validation |  | Must state why a re-validation is required. |

# Definitions

## Define any abbreviation, or unfamiliar terms used in this report.

# Method

The Temperature mapping activity was conducted according to the Validation Protocol (insert name of VP & Document Control number here.

| Duration of mapping activity |  |  |
| --- | --- | --- |
| State date and time started and date and time ended, and total number of hours. |  |  |
|  | Environmental conditions | List any factors affecting the ability of the area to maintain temperature (eg air-flow, or air-balance? |
|  | Heat sources | Are there any specific heat sources which may have an effect on the temperature of the area to be mapped? (For example, is the cupboard close to an incubator?) |
|  | Temperature monitoring | How is the area to be temperature monitored? |
|  | Environmental control system. | Is the area to be mapped environmentally controlled and alarmed? 24/7, or just during routine working hours? What are the current alarm set points? |

# Acceptance Criteria

List the acceptable outcomes for all measurable parameters.

# Data-logger locations

# Results

Add extra columns as required.

Data-Logger readings. Data-logger number placed near probe is in Red, Bold print.

| Data-logger Numbers |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Minimum temperature reading |  |  |  |  |  |
| Maximum temperature reading |  |  |  |  |  |

Include a graphical representation of the results. State which areas are the warmest and coolest locations.

Supporting raw data must be included in a separate appendices attached to the report.

# Deviations from process

Reference any deviations from the validation protocol which may have occurred when conducting the validation, and/ or results that do not meet the acceptance criteria.  Investigate and document any unexpected results and provide a possible explanation for the outcome and any corrective action provided. If there were no deviations, write N/A.

# Conclusion and recommendations

The following points are to be included in this section;

- Has the acceptance criteria been met?

- If the mapped area is BMS monitored and alarmed, is the BMS probe in the correct location?

- How is the area to be temperature monitored? What are the recommended alarm settings / monitoring requirements?

- Include any recommendations for revalidation requirements. Consideration should be given as to the need for any periodic revalidations and their frequency

# Implementation Plan

List any items which need to be addressed prior to implementation of the validated, approved process / equipment / material, for example, documentation or training requirements.

For new equipment, include the following;

- Equipment to be Asset Registered.

- Equipment to be Asset Labelled

For new material, include the following;

- Material Specification to be document controlled

- Material to be registered on the Critical Material Register.

# Attachments to Report

## Data-Logger certificates

## Raw data

# Document Change History Record

| Document Owner |  |
| --- | --- |

| Version Number | Section Amended | Amendment Details | Date of Approval |
| --- | --- | --- | --- |