# LABORATORY START-UP CHECKLIST      		Month: ___________                  Year:  _____________

|  | Mon | Tues | Wed | Thur | Fri | Sat | Sun | Mon | Tues | Wed | Thur | Fri | Sat | Sun |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## BMS Monitor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Check for alarms |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Incubators |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Internal check (twice weekly) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Support Lab |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cell Analyser start-up & controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Prepare fresh 1% Virkon Solution |  | NA | NA |  | NA | NA | NA |  | NA | NA |  | NA | NA | NA |
| ## Wash-up Room |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash & wrap aspirator tubing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash soaked items |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Empty drying oven |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Linen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check numbers & order stocks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Gowning Room |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stock up (gowns, booties, gloves) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Cryo Tanks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Check tanks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Manual fill tanks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

REVIEWED BY: ______________________________         DATE:  _______________________

# LABORATORY shut down CHECKLIST      Month: ___________                  Year:  __________

|  | Mon | Tues | Wed | Thur | Fri | Sat | Sun | Mon | Tues | Wed | Thur | Fri | Sat | Sun |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Support Lab |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wipe benches |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cell Analyser shut down |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Empty bins |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wipe trolley in airlock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wipe all trolleys in support lab |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check controlled rate freezer wiped down |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wipe pass-through hatch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discard chux wipes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Gowning Room |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Empty bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Cold Room |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lock cage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Alcove |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lock freezer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Wash-up Room |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Empty waste containers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Transfusion Medicine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Pick up BIM containers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Cryo Tanks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Check tanks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

REVIEWED BY: _______________________________         DATE:  _______________________