# FLOW cytometer CHECKLIST	Month: ___________    Year:  _________

|  | Mon | Tues | Wed | Thur | Fri | Sat | Sun | Mon | Tues | Wed | Thur | Fri | Sat | Sun |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Start-up (each day of operation) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Turn on cytometer & computer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fluidics start-up |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| De-gas flow cell (if required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Run Colour Setup Beads |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Run Setup & Tracking Beads |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Shut Down (each day of operation) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean flow cell: Run FACS Clean |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean flow cell: Run milli-Q water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Decontaminate SIT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fluidics shut down |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean external surfaces |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check cubitainers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Top up reagents in cubitainers (if required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check condensation trap |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Empty condensation trap (if required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Turn off cytometer & computer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weekly (record date & sign) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Prime fluid lines |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Purge fluid filters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monthly (record date & sign) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Decontaminate fluidics |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Unscheduled Maintenance (record action taken, date & sign) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

REVIEWED BY: _______________________________         DATE:  _______________